Meeting Report

Gas Detector Project Technical Committee

Conference Call

November 13, 2008

ABYC A-34, Smoke Detectors

1.  Redefined “Independent laboratory”.

2.  Smoke detectors shall be certified by an independent testing laboratory meeting the requirements of UL 217, Marine Smoke Detectors.

3.  If a vessel is equipped with multiple smoke detectors that are hard-wired to the vessel’s DC power, the detectors shall be electrically interconnected such that when the detector alarms, all detectors alarm.  Stand-alone detectors are still allowed.

4.  The PTC voted to require smoke detectors on all boats with accommodation compartments effective model year 2012.

5.  Changed the title to “Marine Smoke Detection Systems”.

6.  Next action:  Send to the committee, public review and consensus ballot.

The next meeting is at the call of the chair.

The information contained herein is prepared by NMMA staff and intended for informational purposes and informal background use only.  It is not intended to serve as an official report of the meeting’s proceedings, actions or outcomes.  This unofficial summary prepared by NMMA staff is not intended to generate any action on the part of any reader.  The only recognized official transcript of any ABYC PTC meeting is the official minutes of the meeting generated by the meeting’s convener or sponsor.